COVER
LICENSE
ABSTRACT
ACKNOWLEDGEMENTS
CONTENTS
LIST OF FIGURES
LIST OF TABLES

1. INTRODUCTION

Since year 2004 Netnovation™ is a Venezuelan SME, formed by a team of professionals in the areas of IT and telecommunications who adopted a business model based on consulting around FLOSS {Daffara2}, providing system integration, timely development and Software as a Service (SaaS) cloud services.

- Document structure, the way the dissertation is going to be organized
- Disposition of the document

2. PROBLEM STATEMENT

Business continuity in the field of information technology is supported in a large extent by the uninterrupted operation of the systems used in productivity tasks {ISO}. These systems must be fault tolerant, so that operations have the least possible impact in the event that an unexpected incident occurs.

Nowadays there are increasingly more people and organizations using centralized remote systems that allow online access to resources and everyday services, this scheme is called cloud computing {Mell & Grance}. Through this type of services, end users whether individuals or corporations, are abstracted to support the infrastructure that this entails, giving responsibility to intermediary companies providing cloud services. So these intermediaries are the ones who must ensure the proper availability of the services, as well as factors such as communications security and redundancy of stored data, among many others.

In particular Netnovation™ is a SME in the field of information technologies, which provides private cloud services from data storage to hosting virtual private servers (VPS), including e-mail and collaboration servers. The latter is precisely one of the mainstays for the operations of the company, which employs mainly FLOSS to its internal systems, specifically using the FLOSS e-mail and collaboration suite Zimbra™[1]. One of the main problems that Netnovation™ faces is to ensure the communication and workflow continuity that is carried through this collaboration tool, as well as meet the SLAs offered to its customers over this software.
[1] http://www.zimbra.com

There are various software solutions offering high availability of services such as those provided by Zimbra™, each one with its legal implications, associated costs and implementation difficulty[2]. A valid alternative is the integration of multiple tools in the field of FLOSS providing a framework to ensure continuity of systems operation or business continuity. By doing it this way it is possible to adapt the different requirements and use different technologies to provide the most consistent solution to what is desired.
[2] Some of these solutions will be addressed in chapter 3

On previous occasions, Netnovation™ has managed to successfully consolidate most of its operations infrastructure adapting FLOSS, making it a wonderful idea to keep this scheme working. To achieve this, it is necessary to evaluate the state of the art in the field of systems that provide high availability, with the aim of offering an effective solution, all of this in accordance to the guidelines that have been proposed by the company.

    2.1. JUSTIFICATION / MOTIVATION

The factors that motivates this work are on one hand, give proper credit to business models based on FLOSS as those used by technology companies nowadays {Daffara2}, and on the other hand, show that private enterprise can be benefited by FLOSS, through a set of toolsets and mechanisms who allow obtaining robust solutions in accordance to technology needs.

    2.2. OBJETIVES

The overall objectives are:

- Frame the FLOSS business model used by Netnovation™
- Show various current alternatives provided by FLOSS at the corporate level
- Adapt the proposed solution to the guidelines established by Netnovation™
- Establish an initial point reference for implementing high availability private cloud services offered by Netnovation™

The specific objectives are:

- Implement a high availability solution based on FLOSS for the e-mail and collaboration system Zimbra™ used by Netnovation™
- Describe the methodology used for the selection of the solution to be implemented
- Describe the process undertaken to implement the selected solution
- Perform tests in a controlled laboratory environment and validate the correct operation of the solution in order to promote it to a production environment

    2.3. SCOPE

The solution to be implemented consists of FLOSS tools that allow its adaptation to the current infrastructure of Netnovation™, they are not intended to replace the elements of the existing operations platform.

The methodology used for the selection of FLOSS tools that make the proposed solution is not intended to provide an exhaustive process that considers all possibilities in the area, but a flexible way that allows classify them qualitatively, justifying their choice through concrete metrics.

Having successfully implemented a high availability solution on the e-mail and collaboration system used by Netnovation™, this will serve as a reference for providing high availability to other enterprise systems, but these other configurations are not covered in this exercise.

3. RELATED TECHNOLOGIES

- High Availability solutions based in FLOSS
- Commercial cluster software
. SUSE Linux Enterprise High Availability Extension
. openSUSE High Availability
. Red Hat Enterprise Linux Cluster

- FLOSS available tools:
. Linux-HA[3]
[3] http://www.linux-ha.org/wiki/Main_Page
.

4. METHODOLOGY

The followed roadmap to achieve the objectives outlined is a set of guidelines and suggestions for the adoption of FLOSS within SMEs {Daffara1}, in the sense that a methodology is not an exact formula but a set of practices. At using this model, companies find a supporting guide from the initial selection and adoption of FLOSS within the IT infrastructure and even to the consolidation of business models around open source.

On the one hand, the guidelines proposed by Daffara suggest a research method by collecting and read as much information related to the project is available and select the appropriate solution from a matching set that fulfill the requirements. On the other hand this dissertation also contemplates an open and standard framework to select the technologies to be used, this is the light weight model OpenBRR {Wasserman et. all}, which performs a quick and flexible assessment over software tools considered.

Additionally, and following a practical formal approach, applying a model of technology acceptance such as the Lazy User Model (LUM) {Collan & Tétard} is possible to frame the process by which are chosen the technological tools that will make up the solution that meets user requirements, which in this case is being represented by the company Netnovation™. This model focuses on user needs and the demanded effort when selecting a solution to a problem from a set of possible solutions.

LUM:
According to the lazy user model, a user is likely to choose the solution that requires the least effort
The selection between one solution and another is known as “Switching Cost”, which tell us that the user examines this cost in terms of time, energy and money when considering how to use a new solution. The LUM proposes that technology acceptance is impacted by the principle of least effort.

    4.1. OpenBRR

- Esther Parrilla Thesis
- Project Evaluation (commits per month, bugs resolved, etc.)

5. ARCHITECTURE

In order to provide IT services to customers, considering software services hosted in an on-line remote location, Netnovation™ requires a proper software and hardware infrastructure to operate. Some of these services are from VPS, Data Storage Systems, Customer Relationship Management Systems (CRM), Email and Collaboration Systems, to Voice over IP PBX systems. Both parties, software infrastructure and product services offered are based on FLOSS.

In particular the Zimbra server to which a high availability schema is been configured, resides into this architecture, and it is consistent with the company's principles and business model, which is why it is useful to understand the environment to which it belongs.

    5.1. Company Infrastructure

Currently the services are offered from two DataCenters (DC1 and DC2) geographically distributed with the aim of guarantee data redundancy. Assuming that communication with the main DC is lost, it has been defined a procedure that allows the restoration of services in the other DC, with the disadvantage that it is a manual procedure that requires administrators intervention.

    5.2. Existent Hardware

Each DC has an average of seven Dell™ PowerEdge Racked Servers with different capacities, interconnected via communication devices that provide various services analogously.

There is a Dell PowerEdge 2850/2950 server serving as firewall and main router on each DC. On the one hand it has a WAN 1000Mbps interface, which is connected through UTP Cat-6 wired to 24 PoE ports Switches Netgear FS728TPv1 Gigabit. Physical servers are installed in 20U rack cabinets. These servers range from models Dell PowerEdge 1950, R510 to R710, have Intel Xeon CPUs within 24 and 64 cores, count with 8 to 64GB of RAM, and also have SCSI HDD with capacities between 100GB and 2,5TB.

    5.3. Company Network Scheme

The housing services leased by the providers offer a pool of public IPv4 addresses that are handled by the main router on each DC facility. DC1 and DC2 are interconnected by a VPN through WAN, each of them associated to a different private Class B network internally. To the LAN Ethernet ports of the switches are connected the physical servers of the private network with transfer speed rates of 100/1000Mbps. The overall interconnection scheme can be appreciated in Figure ?.

Figure ?: Network interconnection

    5.4. Software Supporting the Infrastructure

Following there are some software solutions currently used by Netnovation™ that are related with the required architecture to provide IT cloud-oriented services, with a brief description and legal licensing information for each one of them.

UTM Endian Firewall™
Company: Endian S.r.l.
Industry: Unified Threat Management
License: GNU GPL
Website: endian.com
Description: A linux security distribution with full featured Unified Threat Management functionality. Include a stateful packet inspection firewall, application-level proxies for various protocols, antivirus support, virus and spam-filtering for email traffic, content filtering of Web traffic, also an OpenVPN solution. Distribution based on Red Hat.
Supported Platforms: GNU/Linux
Commercial support: annual subscription

Proxmox VE™
Company: Proxmox Server Solutions GmbH
Industry: Server Virtualization
License: GNU Affero and GPLv3
Website: pve.proxmox.com
Description: virtualization management solution for servers, based on KVM and containers
Server Virtualization Platform, provides KVM and OpenVZ hypervisors. Distribution based on Debian.
Supported Platforms: GNU/Linux
Commercial support: annual subscription

FreeNAS™
Company: iXsystems, Inc.
Type: Computer Storage
License: BSD 2-Clause
Website: freenas.org
Description: network-attached storage server, supporting many network and storage protocols such as Samba and NFS. Also supports ZFS. Distribution based on FreeBSD.
Supported Platforms: BSD Unix
Commercial support: custom quotes and support tickets

Zabbix™
Company: Zabbix SIA
Industry: IT Monitoring
License: GNU GPLv2
Website: zabbix.com
Description: solution for monitoring of networks, applications and databases
Supported Platforms: GNU/Linux
Commercial support: custom quotes and support tickets

6. IMPLEMENTATION

    6.1. Technical specifications of implemented FLOSS tools

    6.2. Tests and validation

    6.3. Other considerations

7. RESULTS AND DISCUSSION

8. CONCLUSIONS AND FUTURE WORK

GLOSSARY/abbreviations/ACRONIMS

- CPU: Central Process Unit
- CRM: Cluster Resource Manager and Customer Relationship Management
- FLOSS: Free Libre Open Source Software
- GNU: GNU is Not Unix
- GPL: General Public License
- HDD: Hard Disk Drive
- IPv4: Internet Protocol version 4
- ISO: International Organization for Standardization
- IT: Information Technologies
- OpenBRR: Open Business Readiness Rating
- PBX: Private Branch Exchange
- SCSI: Small Computer System Interface
- SLA: Service Level Agreement
- SME: Small and Medium Enterprises
- VPN: Virtual Private Network
- VPS: Virtual Private Server
- WAN: Wide Area Network

REFERENCES
APPENDIX